Compiling software from source code

Requirements

- Install the following packages before starting the compilation:
  - CodeBlocks IDE (http://www.codeblocks.org/).
  - CMake (https://cmake.org/download/)
- If you are building on Windows, download and install required packages:
  - Download and install MSYS2 from https://www.msys2.org/
Select default installation folder (C:\msys64)
Before finishing installation, tick "Run MSYS2 64 bit now". This will launch the "MSYS2 MSYS" terminal.
Udate packages using the following command in the MSYS terminal:
pacman -Syu
MSYS will close after this upgrade.
Add "C:\msys64\mingw64\bin" folder to Windows PATH variable!
Run "MSYS2 MinGW 64-bit" application and proceed to install required packages using the following commands:
pacman -Su
pacman -S mingw-w64-x86_64-gcc
pacman -S git
pacman -S make
pacman -S mingw-w64-x86_64-make
pacman -S msys/automake-wrapper
pacman -S msys/autoconf
pacman -S mingw-w64-x86_64-nsis

If you are building on MACOSX install Xcode and Xcode command line tools

If you are building on Linux (Ubuntu) install the required packages:
sudo apt-get install cmake protobuf-compiler
sudo apt-get install build-essential
sudo apt-get install libgtk-3-dev
sudo apt-get install libwxgtk3.0-gtk3-dev
sudo apt-get install libudev-dev
sudo apt-get install libgl1-mesa-dev
sudo apt-get install autoconf
sudo apt-get install automake
sudo apt-get install libxxf86vm-dev
- Extract software sources from GitLab
  - On Windows run "MSYS2 MinGW 64-bit", on Linux/Mac open "Terminal":
git clone --branch develop https://gitlab.com/scopefun/scopefun-software.git
- Create a build directory in the ’scopefun-software’ directory and enter the directory
mkdir scopefun-software/build && cd scopefun-software/build

1st step: compiling the libraries
- Windows: Configure and generate ’MinGW makefiles’ using CMake
  - Set the source code path ... C:/msys64/home/<your_username>/scopefun-software
  - Set build the binaries path ... C:/msys64/home/<your_username>/scopefun-software/build
  - ... where <your_username> is your Windows username
  - Click Configure and specify MinGW makefiles as the generator (Use default native compillers)
  - Enter the correct build type for SCOPEFUN_BUILD_TYPE variable (this can be Debug or Release), after performing ’Configure’ step.
  - Select ’Configure’ step two times.
  - Check that there is no red colored variables in CMake prior to generating choosen build system scripts.
  - Select ’Generate’.
  - Run MSYS2 MinGW 64-bit, and type
    cd ~/scopefun-software/build
    cd ../lib/libusb-1.0.22 && aclocal && automake && cd .. && cd ../build
mingw32-make package

Linux and Mac: Configure and generate ’Unix makefiles’ using CMake
Linux: run Terminal, go to your "build" directory and type:
cd ../lib/libusb-1.0.22 && aclocal && automake && cd .. && cd ../build
chmod +x ../lib/wxWidgets-3.0.5/src/stc/gen_iface.py
chmod +x ../lib/libusb-1.0.22/install-sh
cmake -G "Unix Makefiles" -D SCOPEFUN_VERSION_MAJOR="2" -D SCOPEFUN_VERSION_MINOR="1" \
  -D SCOPEFUN_VERSION_MICRO="0" -D SCOPEFUN_BUILD_TYPE="Release" \
  -D CPACK_BINARY_DEB="true" -D CPACK_BINARY_TZ="false" \
  -D CPACK_BINARY_TGZ="false"-D CPACK_BINARY_STGZ="false" ..
make package

  - Mac: run Terminal, go to your build folder and type:
chmod +x ../lib/wxWidgets-3.0.4/src/stc/gen_iface.py
chmod +x ../lib/libusb-1.0.22/install-sh
PATH="/Applications/Cmake.app/Contents/bin":"$PATH"
cmake -G "Unix Makefiles" -D SCOPEFUN_BUILD_TYPE="Release" \
  -D CMAKE_VERBOSE_MAKEFILE="true" -D CPACK_BINARY_DRAGNDROP="true" \
  -S "$CI_BUILDS_DIR.." -B.
make

2nd step: compiling source code in Codeblocks

- Make sure you have successfully finished the 1st step: compiling the libraries
- Windows: Configure and generate ’CodeBlocks-MinGW Makefiles’ using CMake
  - Set the source code path ... C:/msys64/home/<your_username>/scopefun-software
  - Set build the binaries path ... C:/msys64/home/<your_username>/scopefun-software/codeblocks-build
  - ... where <your_username> is your Windows username
  - Note: ’Where to build the binaries’ folder is different folder as in first step.
  - Click Configure and specify CodeBlocks-MinGW Makefiles as the generator
  - Enter the correct build type for SCOPEFUN_BUILD_TYPE variable (this can be Debug or Release), after performing ’Configure’ step.
  - Select ’Configure’ step two times.
  - Check that there is no red colored variables in CMake prior to generating choosen build system scripts.
  - Select ’Generate’.
  - You can now build the project
  - Open the generated project with Codeblocks and build project. Then select target ’ScopeFun’ and Run.
- Linux or Mac: Configure and generate ’CodeBlocks-Unix Makefiles’ using Cmake.
  - Go to "scopefun-software" folder and create a new folder "codeblocks-build"
    mkdir codeblocks-build && cd codeblocks-build
  - Linux: run Terminal, go to your "codeblocks-build" folder and type:
cmake -G "CodeBlocks - Unix Makefiles" -D SCOPEFUN_BUILD_TYPE="Release" \
      -D CPACK_BINARY_DEB="true" -D CPACK_BINARY_TZ="false" \
      -D CPACK_BINARY_TGZ="false" -D CPACK_BINARY_STGZ="false" ..
  - Mac: run Terminal, go to your build folder and type:
cmake -G "CodeBlocks - Unix Makefiles" -D CMAKE_BUILD_TYPE="Release" \
      -D CMAKE_VERBOSE_MAKEFILE="true" -D CPACK_BINARY_DRAGNDROP="true" \
      -S "$CI_BUILDS_DIR.." -B.
  - Open the generated project with Codeblocks and build project. Then select target ’ScopeFun’ and Run.

- Open CodeBlocks IDE and run Build (or optionally run below commands in command shell)
  - Go to build directory and type:
    - Windows (MSYS2 MinGW 64-bit)
      - Build executable files: mingw32-make -f makefile
      - Build installer package: mingw32-make package
      - Build source files package: mingw32-make package_source
    - Linux/Mac using Terminal
      - Build executable files: make
      - Build installer package: make package
      - Build source files package: make package_source

Questions ? Go to https://www.scopefun.com/ where you can join a forum or contact us by e-mail.